Conformance Statement FHIR -

HYDMEDIA G6 06.010.00.00

Record ID: A3D1C9FE-9FBD-4363-92F1-953AAE241C4B

RECORD OWNER

| Product Manager | Ertz, Hans Peter |
| --- | --- |

RECORD AUTHOR

| Product Manager | Ertz, Hans Peter |
| --- | --- |

MANDATORY RECORD REVIEWER

| Development Lead | Rosenauer, Michael |
| --- | --- |
| Program Manager | Grunert, Thomas |

OPTIONAL RECORD REVIEWER

| n/a |  |
| --- | --- |

RECORD APPROVER

| Development Lead | Rosenauer, Michael |
| --- | --- |
| Program Manager | Grunert, Thomas |

TABLE OF CONTENTS

1	Introduction	3

1.1	Scope	3

1.2	Purpose	3

1.3	Related Documents	3

2	Supported resources and interactions	4

2.1	Supported operations	4

2.2	Supported resources	4

2.3	Supported interactions	5

2.4	Capability matrix	5

3	Supported Profiles	6

3.1	Informationstechnische Systeme in Krankenhäusern (ISiK)	6

4	Record Revision History	6

# Introduction

## Scope

This document applies to DH Healthcare HYDMedia G6 in Version 06.10.00.00.

## Purpose

This document describes the capabilities and conformance of HYDMedia G6’s FHIR-Interface.

Although the use of this conformance statement in conjunction with the FHIR standard is intended to facilitate communication with HYDMedia G6, it is not sufficient to guarantee, by itself, the inter-operation of the connection between HYDMedia G6 and any 3rd party system.

The integration of any device into a system of interconnected devices goes beyond the scope of the FHIR standard and this conformance statement when interoperability is desired. The responsibility for analyzing the application’s requirements and developing a solution that integrates the Dedalus Healthcare equipment with other vendors’ systems is the user’s responsibility and should not be underestimated.

Especially the conversion of metadata used in HYDMedia to the required metadata used in the FHIR-environment and vice versa is crucial to the successful integration of different systems into HYDMedia.

## Related Documents

- FHIR-Standard (https://hl7.org/fhir/)

- gematik Specifications (https://github.com/gematik/)

# Supported resources and interactions

## Supported operations

HYDMedia ECM allows the following ways of communication / operations:

- Documents stored in HYDMedia ECM are made available via the FHIR interface and can be retrieved by 3rd party applications (SEARCH)

- Documents arriving in HYDMedia ECM can be send out to any recipients via the FHIR interface (PUSH)

- Documents from 3rd party applications can be sent to HYDMedia ECM via the FHIR interface (RECEIVE)

- Documents stored in 3rd party applications can be retrieved and viewed in HYDMedia via the FHIR interface (CONSUME/PULL)

For details on the supported operations and combinations of resources and interactions see chapter “Fehler! Verweisquelle konnte nicht gefunden werden. Fehler! Verweisquelle konnte nicht gefunden werden.”.

## Supported resources

The following FHIR resources are supported by HYDMedia ECM:

| FHIR resource | Corresponding HYDMedia-object |  | FHIR resource | Corresponding HYDMedia-object |
| --- | --- | --- | --- | --- |
| Account | n/a |  | DocumentReference | configurable DocumentClass |
| Binary | Content |  | Encounter | Case / Certificate |
| CodeSystem | n/a |  | Organization | n/a |
| Composition | n/a |  | Patient | Patient |
| Condition | n/a |  | Practicioner | n/a |
| ConformanceStatement | n/a |  | Procedure | n/a |
| Coverage | n/a |  | RelatedPerson | n/a |
| DocumentManifest | n/a |  | ValueSet | n/a |

## Supported interactions

The following interactions are supported by HYDMedia ECM. Please note that not every interaction is supported by every resource. For details see chapter “2.4 Capability matrix”

| Level | Interaction | Description |
| --- | --- | --- |
| Instance | read | Read the current state of the resource |
|  | update | Update an existing resource by its id (or create it if it is new) |
|  | delete | Delete a resource |
| Type | create | Create a new resource with a server assigned id |
|  | search | Search the resource type based on some filter criteria |
| System | capabilities | Get a capability statement for the system |

## Capability matrix

Not all interactions are supported by every resource. The following table illustrates the supported interactions for each resource.

The letters indicate the supported operations (for details on the operations see chapter “2.1 Supported operations”:

- S = SEARCH

- R = RECEIVE

- P = PUSH

- C = CONSUME / PULL

|  | read | update | delete | create | search | capabilities |
| --- | --- | --- | --- | --- | --- | --- |
| Account | S | R | R | R | S |  |
| Binary | S | R / P | R / P | R / P | S |  |
| CodeSystem | S | R | R | R | S |  |
| Composition | S | R | R | R | S |  |
| Condition | S | R | R | R | S |  |
| ConformanceStatement | S | R | R | R | S |  |
| Coverage | S | R | R | R | S |  |
| DocumentManifest | S | R | R | R | S |  |
| DocumentReference | S | R / P | R / P | R / P | S |  |
| Encounter | S | R | R | R | S |  |
| Organization | S | R | R | R | S |  |
| Patient | S | R | R | R | S |  |
| Practicioner | S | R | R | R | S |  |
| Procedure | S | R | R | R | S |  |
| System |  |  |  |  |  | S |

# Supported Profiles

## Informationstechnische Systeme in Krankenhäusern (ISiK)

ISiK-Dokumentenaustausch Stufe 3 and ISiK-Basisstufe 3 as specified in the gematik Specifications are supported by HYDMedia ECM.

# Record Revision History

| Version # | Author | Change description (incl. section) |
| --- | --- | --- |
| 0.0003, 0.0002, 0.0001 | H. Ertz | Initial Version |